**DPS-15V2-2 Instruction**

****

****

**1. Leaders Electric Technology’S DPS (Digital Power Supply) Series is digital LED lighting power supply. On the panel, Rotary Switch is able to adjust the brightness.**

**2.Product Character：**

**Modle ： DPS-15V2-2**

**Dimmension(mm ):** **181\*119\*42**

**Chanel：2**

**Input：100-240V AC**

**Output： DC12 V 15W**

**Control：Manual**

**Cooling System：Natural Air Cooling**

**3.Operating Temperature：-10℃ ~ +40℃**

**4.Storage Temperature：-10℃ ~ +60℃**

**5.Quality Assurance： One Year**

**Leaders Electric Technology(Suzhou) Co.,Ltd**

**Address：155# KangZhuang Road ZhouShi Town**

**KunShan City JiangSu Province China**

**DPS-15V2-2**

****

****

**1.DPS (Digital Power Supply) 是一种LED控制电源，通过调节控制面板上的可调，LED的亮度产生连续的变化。**

**2.产品特性：**

**型号 ： DPS-15V2-2**

**尺寸(mm):** **181\*119\*42**

**通道：2**

**输入：100-240V 交流**

**输出： 直流 12伏特、 15瓦特**

**控制端：手动控制**

**冷却：自然空气冷却**

**3.使用环境：-10℃ ~ +40℃**

**4.储存条件：-10℃ ~ +60℃**

**5.质保：一年**

**利德仕电子科技（苏州）有限公司**

**地址：江苏省昆山市康庄路155号**